## plasma
Example |  |  |  | Parameters of two-tissue compartment model
Simulation of 2-tissue compartment model |  |  |  | K1r | 0.4 |  | (0,4)
|  |  |  | k2r | 0.5 |  | (0,6)
|  |  |  | k3r | 0.4 |  | (0,5)
|  |  |  | k4r | 0.3 |  | (0,2)
|  |  |  | Vb | 0.04 |  | (0,04)
Plasma curve (measured) |  |  |  | Simulated tissue curves | [6 empty] | PET tissue curve (measured)
Time | Concentration | dT/2 | Integral | Cnd | Cs | Ct | Cb | Cpet | Cnd integral | Cs integral | Time | Concentration
(min) | (kBq/mL) |  | 0-t | [7 empty] | (min) | (kBq/mL)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 19
0.04 | 0.053954 | 0.02 | 0.0010791 | 0.00042402 | 3.3719e-06 | 0.00042739 | 0.0021581 | 0.0025684 | 8.4804e-06 | 6.7438e-08 | 5 | 24
0.12 | 0.030131 | 0.04 | 0.0044424 | 0.0016936 | 3.6772e-05 | 0.0017304 | 0.0012052 | 0.0028664 | 9.3186e-05 | 1.6732e-06 | 10 | 26
0.21 | 0.1268 | 0.045 | 0.011505 | 0.004279 | 0.00014187 | 0.0044208 | 0.0050722 | 0.0093162 | 0.00036195 | 9.712e-06 | 15 | 25
0.29 | 0.072873 | 0.04 | 0.019492 | 0.0070707 | 0.00031794 | 0.0073887 | 0.0029149 | 0.010008 | 0.00081594 | 2.8104e-05 | 20 | 23
0.38 | 0.2359 | 0.045 | 0.033386 | 0.011874 | 0.00064594 | 0.01252 | 0.009436 | 0.021456 | 0.0016685 | 7.1479e-05 | 30 | 19
0.46 | 1.057 | 0.04 | 0.085104 | 0.03104 | 0.0013091 | 0.032349 | 0.042281 | 0.073336 | 0.003385 | 0.00014968 | 40 | 16
0.54 | 39.3845 | 0.04 | 1.7028 | 0.65362 | 0.012103 | 0.66572 | 1.5754 | 2.2145 | 0.030771 | 0.00068615 | 50 | 14
0.62 | 110.278 | 0.04 | 7.6893 | 2.9205 | 0.068324 | 2.9888 | 4.4111 | 7.2804 | 0.17374 | 0.0039032
0.71 | 110.211 | 0.045 | 17.6113 | 6.5114 | 0.23402 | 6.7454 | 4.4084 | 10.884 | 0.59817 | 0.017509
0.79 | 79.1961 | 0.04 | 25.1876 | 8.9923 | 0.47358 | 9.4659 | 3.1678 | 12.2551 | 1.2183 | 0.045813
0.88 | 59.3911 | 0.045 | 31.424 | 10.7064 | 0.81082 | 11.5172 | 2.3756 | 13.4322 | 2.1048 | 0.10361
0.96 | 56.1086 | 0.04 | 36.044 | 11.7688 | 1.1469 | 12.9157 | 2.2443 | 14.6434 | 3.0038 | 0.18192
1.04 | 51.9045 | 0.04 | 40.3645 | 12.6497 | 1.5058 | 14.1555 | 2.0762 | 15.6655 | 3.9805 | 0.28803
1.12 | 44.9701 | 0.04 | 44.2395 | 13.306 | 1.8805 | 15.1864 | 1.7988 | 16.3778 | 5.0187 | 0.42348
1.21 | 43.118 | 0.045 | 48.2034 | 13.8484 | 2.3126 | 16.161 | 1.7247 | 17.2393 | 6.2407 | 0.61217
1.29 | 40.868 | 0.04 | 51.5629 | 14.2411 | 2.7019 | 16.943 | 1.6347 | 17.9 | 7.3643 | 0.81275
1.38 | 36.4918 | 0.045 | 55.0441 | 14.5466 | 3.1412 | 17.6878 | 1.4597 | 18.4399 | 8.6597 | 1.0757
1.46 | 33.6728 | 0.04 | 57.8507 | 14.6965 | 3.529 | 18.2255 | 1.3469 | 18.8434 | 9.8294 | 1.3425
1.54 | 31.3469 | 0.04 | 60.4514 | 14.7655 | 3.9111 | 18.6766 | 1.2539 | 19.1834 | 11.0079 | 1.6401
1.62 | 28.8414 | 0.04 | 62.859 | 14.7638 | 4.2852 | 19.049 | 1.1537 | 19.4407 | 12.1891 | 1.968
1.71 | 26.5675 | 0.045 | 65.3524 | 14.6895 | 4.6942 | 19.3837 | 1.0627 | 19.6711 | 13.5145 | 2.372
1.79 | 25.8536 | 0.04 | 67.4492 | 14.591 | 5.0458 | 19.6368 | 1.0341 | 19.8855 | 14.6857 | 2.7616
1.88 | 24.2251 | 0.045 | 69.7028 | 14.4574 | 5.4273 | 19.8847 | 0.969 | 20.0583 | 15.9929 | 3.2329
1.96 | 24.1853 | 0.04 | 71.6392 | 14.3298 | 5.7537 | 20.0835 | 0.96741 | 20.2476 | 17.1444 | 3.6802
2.04 | 23.7086 | 0.04 | 73.5549 | 14.2105 | 6.0685 | 20.279 | 0.94834 | 20.4162 | 18.286 | 4.153
2.12 | 22.2171 | 0.04 | 75.392 | 14.0763 | 6.3718 | 20.4481 | 0.88868 | 20.5188 | 19.4175 | 4.6507
2.21 | 21.4263 | 0.045 | 77.3559 | 13.9051 | 6.699 | 20.6041 | 0.85705 | 20.6369 | 20.6766 | 5.2388
2.29 | 20.5363 | 0.04 | 79.0344 | 13.7452 | 6.9773 | 20.7225 | 0.82145 | 20.715 | 21.7826 | 5.7859
2.38 | 21.4264 | 0.045 | 80.9227 | 13.586 | 7.2768 | 20.8628 | 0.85706 | 20.8854 | 23.0125 | 6.4273
2.46 | 21.7455 | 0.04 | 82.6496 | 13.4801 | 7.5322 | 21.0123 | 0.86982 | 21.0416 | 24.0952 | 7.0197
2.54 | 22.5277 | 0.04 | 84.4205 | 13.4044 | 7.7786 | 21.1829 | 0.90111 | 21.2367 | 25.1706 | 7.6321
2.62 | 19.8911 | 0.04 | 86.1173 | 13.3108 | 8.0165 | 21.3273 | 0.79564 | 21.2699 | 26.2392 | 8.2639
2.71 | 20.9041 | 0.045 | 87.9531 | 13.1917 | 8.2736 | 21.4653 | 0.83616 | 21.4429 | 27.4318 | 8.997
2.79 | 21.282 | 0.04 | 89.6405 | 13.1207 | 8.4934 | 21.6141 | 0.85128 | 21.6008 | 28.4843 | 9.6677
2.88 | 20.3754 | 0.045 | 91.5151 | 13.0434 | 8.7318 | 21.7752 | 0.81502 | 21.7192 | 29.6617 | 10.4428
2.96 | 20.344 | 0.04 | 93.1439 | 12.9704 | 8.936 | 21.9064 | 0.81376 | 21.844 | 30.7022 | 11.1495
3.04 | 20.9376 | 0.04 | 94.7951 | 12.9159 | 9.1334 | 22.0492 | 0.8375 | 22.0048 | 31.7377 | 11.8723
3.12 | 20.2019 | 0.04 | 96.4407 | 12.8674 | 9.3244 | 22.1918 | 0.80808 | 22.1122 | 32.769 | 12.6106
3.21 | 20.267 | 0.045 | 98.2618 | 12.8104 | 9.5321 | 22.3425 | 0.81068 | 22.2595 | 33.9245 | 13.4591
3.29 | 19.545 | 0.04 | 99.8543 | 12.7579 | 9.7102 | 22.4681 | 0.7818 | 22.3512 | 34.9472 | 14.2288
3.38 | 19.2536 | 0.045 | 101.6002 | 12.6904 | 9.9035 | 22.5939 | 0.77014 | 22.4603 | 36.0924 | 15.1114
3.46 | 20.6816 | 0.04 | 103.1977 | 12.6565 | 10.0694 | 22.7259 | 0.82726 | 22.6442 | 37.1063 | 15.9104
4.52 | 16.7987 | 0.53 | 123.0622 | 12.2218 | 11.8573 | 24.079 | 0.67195 | 23.7878 | 50.2918 | 27.5315
7.48 | 13.0755 | 1.48 | 167.276 | 10.7649 | 13.9894 | 24.7544 | 0.52302 | 24.2872 | 84.3121 | 65.7846
8 | 12.8062 | 0.26 | 174.0053 | 10.6346 | 14.0295 | 24.6641 | 0.51225 | 24.1898 | 89.8759 | 73.0695
9 | 12.3243 | 0.5 | 186.5705 | 10.4026 | 14.0283 | 24.4309 | 0.49297 | 23.9467 | 100.3946 | 87.0984
10 | 11.8733 | 0.5 | 198.6693 | 10.1775 | 13.9479 | 24.1254 | 0.47493 | 23.6353 | 110.6846 | 101.0865
11 | 11.451 | 0.5 | 210.3315 | 9.949 | 13.8096 | 23.7586 | 0.45804 | 23.2663 | 120.7479 | 114.9653
12 | 11.0556 | 0.5 | 221.5848 | 9.7164 | 13.6272 | 23.3436 | 0.44222 | 22.8521 | 130.5806 | 128.6836
13 | 10.6853 | 0.5 | 232.4552 | 9.4813 | 13.411 | 22.8923 | 0.42741 | 22.404 | 140.1795 | 142.2027
14 | 10.3383 | 0.5 | 242.967 | 9.2459 | 13.1694 | 22.4152 | 0.41353 | 21.9322 | 149.5431 | 155.4929
15 | 10.013 | 0.5 | 253.1427 | 9.0119 | 12.9092 | 21.9211 | 0.40052 | 21.4447 | 158.672 | 168.5322
16 | 9.708 | 0.5 | 263.0032 | 8.7811 | 12.636 | 21.417 | 0.38832 | 20.9487 | 167.5685 | 181.3047
17 | 9.422 | 0.5 | 272.5682 | 8.5546 | 12.3545 | 20.9091 | 0.37688 | 20.4496 | 176.2363 | 193.8
18 | 9.1535 | 0.5 | 281.8559 | 8.3335 | 12.0687 | 20.4022 | 0.36614 | 19.9522 | 184.6804 | 206.0116
19 | 8.9016 | 0.5 | 290.8835 | 8.1186 | 11.7816 | 19.9002 | 0.35606 | 19.4602 | 192.9064 | 217.9367
20 | 8.6649 | 0.5 | 299.6667 | 7.9104 | 11.4958 | 19.4062 | 0.3466 | 18.9766 | 200.921 | 229.5754
21 | 8.4426 | 0.5 | 308.2204 | 7.7094 | 11.2134 | 18.9227 | 0.3377 | 18.5035 | 208.7309 | 240.9299
22 | 8.2335 | 0.5 | 316.5585 | 7.5157 | 10.936 | 18.4517 | 0.32934 | 18.043 | 216.3434 | 252.0046
23 | 8.0369 | 0.5 | 324.6937 | 7.3295 | 10.6649 | 17.9944 | 0.32148 | 17.5961 | 223.766 | 262.805
24 | 7.8518 | 0.5 | 332.638 | 7.151 | 10.4011 | 17.5521 | 0.31407 | 17.1641 | 231.0063 | 273.338
25 | 7.6776 | 0.5 | 340.4027 | 6.9799 | 10.1453 | 17.1252 | 0.3071 | 16.7473 | 238.0717 | 283.6113
26 | 7.5134 | 0.5 | 347.9982 | 6.8163 | 9.8981 | 16.7144 | 0.30054 | 16.3463 | 244.9698 | 293.6329
27 | 7.3586 | 0.5 | 355.4343 | 6.66 | 9.6597 | 16.3197 | 0.29434 | 15.9612 | 251.708 | 303.4118
28 | 7.2126 | 0.5 | 362.7198 | 6.5109 | 9.4303 | 15.9412 | 0.2885 | 15.5921 | 258.2935 | 312.9568
29 | 7.0747 | 0.5 | 369.8634 | 6.3686 | 9.2102 | 15.5788 | 0.28299 | 15.2386 | 264.7332 | 322.2771
30 | 6.9444 | 0.5 | 376.873 | 6.2331 | 8.9991 | 15.2322 | 0.27777 | 14.9007 | 271.034 | 331.3817
31 | 6.8212 | 0.5 | 383.7557 | 6.1039 | 8.7971 | 14.901 | 0.27285 | 14.5778 | 277.2025 | 340.2798
32 | 6.7046 | 0.5 | 390.5186 | 5.981 | 8.6039 | 14.5849 | 0.26818 | 14.2697 | 283.245 | 348.9803
33 | 6.5941 | 0.5 | 397.1679 | 5.864 | 8.4194 | 14.2834 | 0.26376 | 13.9758 | 289.1675 | 357.492
34 | 6.4894 | 0.5 | 403.7096 | 5.7526 | 8.2433 | 13.996 | 0.25958 | 13.6957 | 294.9758 | 365.8233
35 | 6.39 | 0.5 | 410.1494 | 5.6466 | 8.0754 | 13.722 | 0.2556 | 13.4287 | 300.6754 | 373.9827
36 | 6.2957 | 0.5 | 416.4922 | 5.5458 | 7.9153 | 13.4611 | 0.25183 | 13.1744 | 306.2717 | 381.978
37 | 6.206 | 0.5 | 422.7431 | 5.4498 | 7.7627 | 13.2125 | 0.24824 | 12.9322 | 311.7695 | 389.817
38 | 6.1206 | 0.5 | 428.9063 | 5.3584 | 7.6173 | 12.9757 | 0.24482 | 12.7015 | 317.1736 | 397.507
39 | 6.0393 | 0.5 | 434.9863 | 5.2714 | 7.4789 | 12.7503 | 0.24157 | 12.4818 | 322.4885 | 405.0551
40 | 5.9617 | 0.5 | 440.9867 | 5.1885 | 7.347 | 12.5355 | 0.23847 | 12.2725 | 327.7184 | 412.468
41 | 5.8876 | 0.5 | 446.9114 | 5.1095 | 7.2213 | 12.3308 | 0.2355 | 12.0731 | 332.8674 | 419.7522
42 | 5.8168 | 0.5 | 452.7636 | 5.0342 | 7.1016 | 12.1358 | 0.23267 | 11.883 | 337.9393 | 426.9136
43 | 5.7491 | 0.5 | 458.5466 | 4.9623 | 6.9875 | 11.9499 | 0.22996 | 11.7018 | 342.9375 | 433.9582
44 | 5.6842 | 0.5 | 464.2632 | 4.8937 | 6.8788 | 11.7725 | 0.22737 | 11.529 | 347.8655 | 440.8914
45 | 5.622 | 0.5 | 469.9163 | 4.8282 | 6.7751 | 11.6033 | 0.22488 | 11.364 | 352.7265 | 447.7183
46 | 5.5622 | 0.5 | 475.5083 | 4.7655 | 6.6761 | 11.4417 | 0.22249 | 11.2065 | 357.5233 | 454.4439
47 | 5.5047 | 0.5 | 481.0418 | 4.7056 | 6.5817 | 11.2873 | 0.22019 | 11.056 | 362.2589 | 461.0729
48 | 5.4494 | 0.5 | 486.5188 | 4.6482 | 6.4915 | 11.1396 | 0.21797 | 10.912 | 366.9358 | 467.6094
49 | 5.396 | 0.5 | 491.9415 | 4.5932 | 6.4052 | 10.9984 | 0.21584 | 10.7743 | 371.5564 | 474.0578
50 | 5.3446 | 0.5 | 497.3118 | 4.5404 | 6.3227 | 10.8631 | 0.21378 | 10.6424 | 376.1232 | 480.4218
51 | 5.2948 | 0.5 | 502.6315 | 4.4897 | 6.2438 | 10.7335 | 0.21179 | 10.5159 | 380.6382 | 486.705
52 | 5.2467 | 0.5 | 507.9022 | 4.441 | 6.1681 | 10.6091 | 0.20987 | 10.3946 | 385.1036 | 492.911
53 | 5.2001 | 0.5 | 513.1256 | 4.3941 | 6.0956 | 10.4897 | 0.208 | 10.2781 | 389.5211 | 499.0428
54 | 5.1549 | 0.5 | 518.3031 | 4.349 | 6.026 | 10.3749 | 0.2062 | 10.1661 | 393.8926 | 505.1036
55 | 5.111 | 0.5 | 523.436 | 4.3054 | 5.9591 | 10.2645 | 0.20444 | 10.0584 | 398.2198 | 511.0962
56 | 5.0683 | 0.5 | 528.5257 | 4.2634 | 5.8948 | 10.1582 | 0.20273 | 9.9546 | 402.5042 | 517.0231
57 | 5.0267 | 0.5 | 533.5732 | 4.2228 | 5.8329 | 10.0556 | 0.20107 | 9.8545 | 406.7473 | 522.8869
58 | 4.9863 | 0.5 | 538.5797 | 4.1835 | 5.7732 | 9.9567 | 0.19945 | 9.7578 | 410.9504 | 528.6899
59 | 4.9467 | 0.5 | 543.5462 | 4.1454 | 5.7156 | 9.861 | 0.19787 | 9.6645 | 415.1149 | 534.4343
60 | 4.9082 | 0.5 | 548.4736 | 4.1085 | 5.6601 | 9.7686 | 0.19633 | 9.5741 | 419.2418 | 540.1222
61 | 4.8704 | 0.5 | 553.3629 | 4.0727 | 5.6063 | 9.679 | 0.19482 | 9.4866 | 423.3324 | 545.7554
62 | 4.8335 | 0.5 | 558.2149 | 4.0378 | 5.5543 | 9.5921 | 0.19334 | 9.4018 | 427.3876 | 551.3357
63 | 4.7973 | 0.5 | 563.0303 | 4.0039 | 5.5039 | 9.5079 | 0.19189 | 9.3194 | 431.4085 | 556.8649
64 | 4.7618 | 0.5 | 567.8098 | 3.9709 | 5.4551 | 9.426 | 0.19047 | 9.2394 | 435.3959 | 562.3444
65 | 4.7269 | 0.5 | 572.5541 | 3.9387 | 5.4076 | 9.3463 | 0.18908 | 9.1615 | 439.3507 | 567.7757
66 | 4.6926 | 0.5 | 577.2639 | 3.9073 | 5.3614 | 9.2687 | 0.1877 | 9.0857 | 443.2737 | 573.1602
67 | 4.6589 | 0.5 | 581.9396 | 3.8765 | 5.3165 | 9.1931 | 0.18636 | 9.0117 | 447.1656 | 578.4991
68 | 4.6257 | 0.5 | 586.582 | 3.8465 | 5.2727 | 9.1192 | 0.18503 | 8.9395 | 451.0271 | 583.7938
69 | 4.593 | 0.5 | 591.1913 | 3.817 | 5.23 | 9.0471 | 0.18372 | 8.8689 | 454.8589 | 589.0451
70 | 4.5607 | 0.5 | 595.7681 | 3.7882 | 5.1883 | 8.9765 | 0.18243 | 8.7999 | 458.6615 | 594.2543
71 | 4.5289 | 0.5 | 600.3129 | 3.7599 | 5.1475 | 8.9074 | 0.18115 | 8.7323 | 462.4355 | 599.4222
72 | 4.4974 | 0.5 | 604.8261 | 3.732 | 5.1076 | 8.8397 | 0.1799 | 8.666 | 466.1815 | 604.5498
73 | 4.4663 | 0.5 | 609.3079 | 3.7047 | 5.0686 | 8.7732 | 0.17865 | 8.601 | 469.8998 | 609.6379
74 | 4.4355 | 0.5 | 613.7588 | 3.6778 | 5.0302 | 8.708 | 0.17742 | 8.5371 | 473.5911 | 614.6873
75 | 4.405 | 0.5 | 618.1791 | 3.6512 | 4.9926 | 8.6438 | 0.1762 | 8.4743 | 477.2556 | 619.6987
76 | 4.3749 | 0.5 | 622.569 | 3.6251 | 4.9556 | 8.5807 | 0.17499 | 8.4125 | 480.8937 | 624.6729
77 | 4.345 | 0.5 | 626.9289 | 3.5993 | 4.9193 | 8.5186 | 0.1738 | 8.3517 | 484.5059 | 629.6103
78 | 4.3153 | 0.5 | 631.259 | 3.5739 | 4.8835 | 8.4574 | 0.17261 | 8.2917 | 488.0925 | 634.5117
79 | 4.2859 | 0.5 | 635.5596 | 3.5487 | 4.8482 | 8.397 | 0.17143 | 8.2325 | 491.6538 | 639.3776
80 | 4.2567 | 0.5 | 639.8309 | 3.5238 | 4.8135 | 8.3373 | 0.17027 | 8.1741 | 495.1901 | 644.2084
81 | 4.2276 | 0.5 | 644.073 | 3.4992 | 4.7792 | 8.2784 | 0.16911 | 8.1164 | 498.7016 | 649.0048
82 | 4.1988 | 0.5 | 648.2863 | 3.4749 | 4.7453 | 8.2202 | 0.16795 | 8.0593 | 502.1886 | 653.7671
83 | 4.1702 | 0.5 | 652.4708 | 3.4507 | 4.7119 | 8.1626 | 0.16681 | 8.0029 | 505.6514 | 658.4957
84 | 4.1417 | 0.5 | 656.6267 | 3.4268 | 4.6788 | 8.1056 | 0.16567 | 7.947 | 509.0902 | 663.191
85 | 4.1133 | 0.5 | 660.7541 | 3.4031 | 4.646 | 8.0491 | 0.16453 | 7.8917 | 512.5051 | 667.8534
86 | 4.0851 | 0.5 | 664.8533 | 3.3795 | 4.6136 | 7.9931 | 0.1634 | 7.8368 | 515.8964 | 672.4832
87 | 4.057 | 0.5 | 668.9244 | 3.3561 | 4.5815 | 7.9376 | 0.16228 | 7.7824 | 519.2643 | 677.0807
88 | 4.029 | 0.5 | 672.9674 | 3.3329 | 4.5496 | 7.8826 | 0.16116 | 7.7284 | 522.6088 | 681.6463
89 | 4.0011 | 0.5 | 676.9824 | 3.3099 | 4.518 | 7.8279 | 0.16005 | 7.6748 | 525.9302 | 686.1801
90 | 3.9734 | 0.5 | 680.9697 | 3.2869 | 4.4867 | 7.7736 | 0.15893 | 7.6216 | 529.2286 | 690.6825
91 | 3.9457 | 0.5 | 684.9292 | 3.2641 | 4.4555 | 7.7197 | 0.15783 | 7.5687 | 532.5041 | 695.1536
92 | 3.9181 | 0.5 | 688.8611 | 3.2414 | 4.4246 | 7.666 | 0.15672 | 7.5161 | 535.7568 | 699.5937
93 | 3.8906 | 0.5 | 692.7654 | 3.2188 | 4.3939 | 7.6127 | 0.15562 | 7.4638 | 538.9869 | 704.0029
94 | 3.8631 | 0.5 | 696.6423 | 3.1963 | 4.3633 | 7.5597 | 0.15452 | 7.4118 | 542.1945 | 708.3816
95 | 3.8357 | 0.5 | 700.4917 | 3.1739 | 4.3329 | 7.5069 | 0.15343 | 7.36 | 545.3796 | 712.7297
96 | 3.8084 | 0.5 | 704.3137 | 3.1516 | 4.3027 | 7.4543 | 0.15234 | 7.3085 | 548.5424 | 717.0475
97 | 3.7811 | 0.5 | 708.1085 | 3.1294 | 4.2726 | 7.402 | 0.15124 | 7.2571 | 551.6829 | 721.3352
98 | 3.7539 | 0.5 | 711.876 | 3.1072 | 4.2426 | 7.3498 | 0.15016 | 7.206 | 554.8011 | 725.5928
99 | 3.7267 | 0.5 | 715.6163 | 3.0851 | 4.2128 | 7.2979 | 0.14907 | 7.155 | 557.8973 | 729.8205
100 | 3.6996 | 0.5 | 719.3294 | 3.0631 | 4.183 | 7.2461 | 0.14798 | 7.1042 | 560.9714 | 734.0184
101 | 3.6725 | 0.5 | 723.0155 | 3.0411 | 4.1534 | 7.1945 | 0.1469 | 7.0536 | 564.0234 | 738.1866
102 | 3.6454 | 0.5 | 726.6744 | 3.0191 | 4.1239 | 7.143 | 0.14582 | 7.0031 | 567.0535 | 742.3252
103 | 3.6184 | 0.5 | 730.3063 | 2.9973 | 4.0944 | 7.0917 | 0.14473 | 6.9527 | 570.0617 | 746.4343
104 | 3.5914 | 0.5 | 733.9112 | 2.9754 | 4.065 | 7.0404 | 0.14365 | 6.9025 | 573.0481 | 750.514
105 | 3.5644 | 0.5 | 737.489 | 2.9536 | 4.0357 | 6.9893 | 0.14258 | 6.8523 | 576.0126 | 754.5644
106 | 3.5374 | 0.5 | 741.0399 | 2.9318 | 4.0065 | 6.9383 | 0.1415 | 6.8023 | 578.9553 | 758.5855
107 | 3.5105 | 0.5 | 744.5639 | 2.9101 | 3.9773 | 6.8874 | 0.14042 | 6.7523 | 581.8763 | 762.5774
108 | 3.4835 | 0.5 | 748.0609 | 2.8884 | 3.9482 | 6.8366 | 0.13934 | 6.7025 | 584.7755 | 766.5401
109 | 3.4566 | 0.5 | 751.531 | 2.8667 | 3.9191 | 6.7858 | 0.13826 | 6.6527 | 587.6531 | 770.4738
110 | 3.4297 | 0.5 | 754.9741 | 2.8451 | 3.8901 | 6.7352 | 0.13719 | 6.6029 | 590.509 | 774.3784
111 | 3.4028 | 0.5 | 758.3904 | 2.8234 | 3.8611 | 6.6845 | 0.13611 | 6.5533 | 593.3433 | 778.254
112 | 3.3759 | 0.5 | 761.7798 | 2.8018 | 3.8322 | 6.634 | 0.13504 | 6.5037 | 596.1559 | 782.1006
113 | 3.3491 | 0.5 | 765.1423 | 2.7802 | 3.8033 | 6.5835 | 0.13396 | 6.4541 | 598.9469 | 785.9183
114 | 3.3222 | 0.5 | 768.4779 | 2.7586 | 3.7744 | 6.533 | 0.13289 | 6.4046 | 601.7163 | 789.7071
115 | 3.2953 | 0.5 | 771.7867 | 2.7371 | 3.7455 | 6.4826 | 0.13181 | 6.3551 | 604.4642 | 793.4671
116 | 3.2685 | 0.5 | 775.0686 | 2.7155 | 3.7167 | 6.4322 | 0.13074 | 6.3057 | 607.1904 | 797.1982
117 | 3.2416 | 0.5 | 778.3236 | 2.6939 | 3.6879 | 6.3819 | 0.12966 | 6.2562 | 609.8952 | 800.9005
118 | 3.2147 | 0.5 | 781.5518 | 2.6724 | 3.6591 | 6.3315 | 0.12859 | 6.2069 | 612.5783 | 804.574
119 | 3.1879 | 0.5 | 784.753 | 2.6509 | 3.6304 | 6.2812 | 0.12751 | 6.1575 | 615.24 | 808.2188
120 | 3.161 | 0.5 | 787.9275 | 2.6293 | 3.6016 | 6.2309 | 0.12644 | 6.1081 | 617.8801 | 811.8348